### **To, Date: 24.05.2021**

**C.G.M (I/C)/WRLDC/POSOCO**

**Dear Sir,**

Sub: Daily report for Date 23-May-2021 Night shift

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl.No** |  |  |  |  |  |  |  |
| **1.0** | **Maximum Demand of day** | 48221 MW at 23:00 Hrs |  |  |  |  |  |
| **2.0** | **Energy consumed** | 1106.0 MU |  |  |  |  |  |
| **3.0** | **Inter-regional flow** | **Schedule:** | Exp—-180.94 MU | **Actual:** | Exp—-174.36 MU |  |  |
| **4.0** | **Frequency profile** | **Below 49.90Hz** | 8.5 % | **Above**  **50.05Hz** | 16.2 % | **Bet’n 49.90-50.05 Hz** | 75.3 % |
| **Average freq: 50.0** Hz | **Freq variation index**: 0.043 | **Max freq:** 50.23 Hz at 08:00:50 hrs | **Min freq:** 49.8 Hz at 12:17:30 hrs |  |  |
| **5.0** | **Max demand met of day** | Gujarat | 13601 MW | MPSEB | 9008  MW | **CSEB** | 3730 MW |
| Maharashtra | 20482 MW | **Goa** | 514 MW |  |  |
| **6.0** | **Renewable generation** | Hydro | 55.97 MU | Wind | 85.28 MU | Solar | 38.18 MU |

**Important Events in Night shift:**

**Today’s important 765kV/400 KV element planned outage’s**

Rest of System is Normal. For kind information Pls.

(S S Raghuwanshi)