### **To, Date: 28.05.2021**

**C.G.M (I/C)/WRLDC/POSOCO**

**Dear Sir,**

Sub: Daily report for Date 27-May-2021 Night shift

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl.No** |  |  |  |  |  |  |  |
| **1.0** | **Maximum Demand of day** | 52152 MW at 15:00 Hrs |  |  |  |  |  |
| **2.0** | **Energy consumed** | 1176.5 MU |  |  |  |  |  |
| **3.0** | **Inter-regional flow** | **Schedule:** | Exp—-210.72 MU | **Actual:** | Exp—-199.39 MU |  |  |
| **4.0** | **Frequency profile** | **Below 49.90Hz** | 3.2 % | **Above**  **50.05Hz** | 20.3 % | **Bet’n 49.90-50.05 Hz** | 76.5 % |
| **Average freq: 50.02** Hz | **Freq variation index**: 0.025 | **Max freq:** 50.15 Hz at 18:02:40 hrs | **Min freq:** 49.76 Hz at 23:18:40 hrs |  |  |
| **5.0** | **Max demand met of day** | Gujarat | 15945 MW | MPSEB | 9663  MW | **CSEB** | 3718 MW |
| Maharashtra | 21896 MW | **Goa** | 574 MW |  |  |
| **6.0** | **Renewable generation** | Hydro | 55.97 MU | Wind | 85.28 MU | Solar | 38.18 MU |

**Important Events in Night shift:**

**Today’s important 765kV/400 KV element planned outage’s**

Rest of System is Normal. For kind information Pls.

()